## Cover
EV Charging Station Feasibility - Delhi vs Hyderabad
Portfolio feasibility study for a hypothetical charge-point operator. Not a real client engagement.
Decision question
Should a CPO invest in one public EV charging station (rented site, 10 years) in Delhi, Hyderabad, both or neither - and under what conditions?
Key outputs (base case, live links)
Delhi NPV (Rs)
Delhi IRR
Hyderabad NPV (Rs)
Hyderabad IRR
Delhi year-1 utilisation
Hyderabad year-1 utilisation
How to use
Blue cells = inputs (change on the Inputs sheet only). Black = formulas. Green = links between sheets. Yellow = key levers.
Six model sheets: DEL_/HYD_ x Cons/Base/Aggr. Each is the same formula layout reading its own scenario column.
Levers on Inputs (grid work factor, staff override, host share override) reproduce the 'what would it take' case.
Checks sheet must show ALL CHECKS PASS = TRUE.
Sources for every number: docs/source_register.md in the repository.

## Inputs
INPUTS - every assumption used by the model (blue = input you can change)
CONTROLS
Charger configuration (A / B / C) |  | A | [7 empty] | A = lean, B = balanced, C = fleet hub; A has the highest NPV in both cities
Demand factor |  | 1 | [7 empty] | Multiply demand (1 = as per scenario)
Price factor |  | 1 | [7 empty] | Multiply charging price (1 = as per scenario)
Electricity cost factor |  | 1 | [7 empty] | Multiply electricity tariff
CAPEX factor |  | 1 | [7 empty] | Multiply equipment + civil + grid CAPEX
Grid work factor (1 = new connection, 0 = host's spare capacity) |  | 1 | [7 empty] | Lever: host site already has spare grid capacity
Staff FTE override (blank = scenario value) | [9 empty] | Lever: 0 = unmanned remote-monitored
Host revenue share override (blank = scenario value) | [9 empty] | Lever: negotiated share
Discount rate override (blank = CAPM) | [9 empty] | Tested 12%-16%
Parameter | Unit | Delhi Cons | Delhi Base | Delhi Aggr | Hyd Cons | Hyd Base | Hyd Aggr | Label | Source / rationale
public_demand_kwh_per_day | kWh/day | 41641 | 41641 | 41641 | 38471 | 38471 | 38471 | DERIVED | Phase 4 SAM 14,042 MWh/yr / 365 ¦ Phase 4 SAM 15,199 MWh/yr / 365
fast_stations | stations | 399 | 399 | 399 | 373 | 373 | 373 | DERIVED / FACT | PIB Lok Sabha reply 16 Dec 2025 ¦ Telangana 548 x 68% Hyderabad share (Phase 4)
capture_multiple | x fair share | 0.75 | 1.25 | 2 | 0.75 | 1.25 | 2 | ASSUMPTION | 1.0 = average existing station. Base 1.25 for a well-chosen, reliable site (many rivals seen faulted, Phase 5); 2.0 = hub-quality site
year1_ramp | share of steady demand | 0.6 | 0.7 | 0.8 | 0.6 | 0.7 | 0.8 | ASSUMPTION | New stations take time to be discovered by drivers and apps
demand_growth_per_station | per year | 0% | 7% | 12% | 0% | 7% | 12% | ASSUMPTION | EV stock doubling (Phase 4) but charger supply also surging (Delhi 16k points by end-2026; TGREDCO 200 stations), so per-station growth is modest
kwh_per_session | kWh | 20 | 20 | 20 | 20 | 20 | 20 | ASSUMPTION | Cab mid-shift top-up on ~26-30 kWh batteries; converts energy to sessions only
price_net_of_gst | Rs/kWh | 16.94 | 18.64 | 19.06 | 13 | 16 | 18.64 | ASSUMPTION / DERIVED | Cons = match TGREDCO Rs 13 excl GST; base = discount to private Rs 21.99 to compete with govt network; aggr = private median ¦ Observed Rs 19.99 / 21.99 / 22.49 (Phase 5), assumed to include 18% GST
price_escalation | per year | 0% | 2% | 3% | 0% | 2% | 3% | ASSUMPTION | Cons 0% because TGREDCO price is fixed for 10 years ¦ Prices have been flat; modest pass-through of tariff increases
electricity_rs_per_kwh | Rs/kWh | 6 | 5.5 | 4.95 | 6.5 | 6 | 6 | DERIVED / FACT/ASSUMPTION | DERC Rs 4.50 + PPAC 16-18% + surcharges/duty (applicability to verify) ¦ TGERC LT-IX Rs 6.00; cons +Rs 0.50 for duty/FSA (to verify)
electricity_fixed_rs_per_month | Rs/month | 0 | 0 | 0 | 120 | 120 | 120 | FACT | DERC EV category: no fixed charge ¦ TGERC LT-IX customer charge (HT config handled separately)
tariff_escalation | per year | 5% | 3% | 2% | 5% | 3% | 2% | ASSUMPTION | Tariffs frozen in FY27 in Telangana; Delhi order unchanged since FY22; range allows catch-up
grid_losses | share | [6 empty] | ASSUMPTION | Charger/cable conversion losses: energy bought = energy sold / (1 - losses) | bar: 0.6 to 0.8
host_revenue_share | share of net revenue | 20% | 15% | 10% | 20% | 15% | 10% | ESTIMATE | Bolt.Earth: hosts get 10-20% of charging revenue
staff_fte | FTE | 2 | 1 | 0.5 | 2 | 1 | 0.5 | ASSUMPTION | Remote-monitored station with day attendant; cons = 2 shifts; aggr = shared with host
staff_cost_rs_per_month | Rs/month per FTE | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | ASSUMPTION | Above Delhi unskilled minimum Rs 18,456 (Apr 2026) and Telangana Rs 11,844
maintenance_pct_of_charger_capex | per year | 7% | 5% | 4% | 7% | 5% | 4% | ASSUMPTION | Annual maintenance contract; no sourced benchmark
cms_rs_per_charger_month | Rs/charger/month | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | ASSUMPTION | Charge-management software / network fee
payment_fee_share | share of revenue | 2% | 1.5% | 1% | 2% | 1.5% | 1% | ASSUMPTION | UPI near-zero, cards ~2%
insurance_pct_of_capex | per year | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | 0.5% | ASSUMPTION | Equipment insurance
misc_rs_per_month | Rs/month | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | ASSUMPTION | Internet, cleaning, admin
fixed_cost_inflation | per year | [6 empty] | ASSUMPTION | Wages and services inflation | bar: 0.6 to 0.8
capex_multiplier | x benchmark | 1.15 | 1 | 0.9 | 1.15 | 1 | 0.9 | ASSUMPTION | Govt benchmark prices may differ from market quotes
contingency | share of capex | 10% | 10% | 10% | 10% | 10% | 10% | ASSUMPTION | Standard project contingency
uptime | share | 95% | 95% | 95% | 95% | 95% | 95% | FACT (benchmark) | TGREDCO tender requires 95% uptime
power_delivery_factor | share of rated kW | 70% | 70% | 70% | 70% | 70% | 70% | ASSUMPTION | Cars draw less than rated power as battery fills (taper)
max_practical_utilisation | share of hours | 40% | 40% | 40% | 40% | 40% | 40% | ASSUMPTION | Above ~40% cars queue and leave; caps capacity
tax_rate | share | 25.17% | 25.17% | 25.17% | 25.17% | 25.17% | 25.17% | FACT | Sec 115BAA: 22% + 10% surcharge + 4% cess
depreciation_years | years | 10 | 10 | 10 | 10 | 10 | 10 | ASSUMPTION | Straight-line, no salvage (simplification of tax WDV)
horizon_years | years | 10 | 10 | 10 | 10 | 10 | 10 | ASSUMPTION | Charger life ~10 yrs; TGREDCO CPO contracts are 10 years
risk_free_rate | share | 7.02% | 7.02% | 7.02% | 7.02% | 7.02% | 7.02% | FACT | India 10Y G-sec, 23 Sep 2026
equity_risk_premium | share | 7.08% | 7.08% | 7.08% | 7.08% | 7.08% | 7.08% | FACT | Damodaran India total ERP, Jan 2026
beta | x | [6 empty] | ASSUMPTION | No listed pure-play Indian CPO; market-average risk; tested 12-16% | bar: 0.6 to 0.8
UNIT COSTS
Item | Unit | 0.6: Cost (Rs) | Label | Source / rationale
dc_60kw_charger | per unit | 0.6: 814000 | DERIVED | Linear interpolation of MHI benchmarks: 50 kW Rs 7.25 lakh, 100 kW Rs 11.68 lakh
dc_120kw_charger | per unit | 0.6: 1345000 | DERIVED | Linear extrapolation of the same MHI benchmarks (no 120 kW benchmark published)
ac_7kw_charger | per unit | 0.6: 58000 | OBSERVED | RIOD PowerPod Go 7.4 kW OCPP commercial charger listing (taxes included)
civil_per_dc_bay | per DC charger | 0.6: 200000 | ESTIMATE | Cars24 (Jun 2026): installation & civil Rs 1.5-2.0 lakh for a 30 kW station (upper end)
civil_per_ac_bay | per AC charger | 0.6: 50000 | ASSUMPTION | Smaller foundation and cabling than a DC bay
signage | per station | 0.6: 40000 | ESTIMATE | Cars24: Rs 25,000-40,000
software_setup | per station | 0.6: 35000 | ESTIMATE | Cars24: Rs 20,000-35,000
permits_misc | per station | 0.6: 50000 | ESTIMATE | Cars24: Rs 25,000-50,000
hyd_ht_demand_charge | Rs per kVA per month | 0.6: 100 | FACT | TGERC HT-IX (only if connected load > 150 kW)
hyd_ht_customer_charge | Rs per month | 0.6: 2000 | FACT | TGERC HT-IX at 11 kV
CHARGER CONFIGURATIONS
Config | Description | 60 kW DC units | 120 kW DC units | 7.4 kW AC units | Grid band | Grid work (Rs lakh) |  | Label | Source
A | Lean: 1 x 60 kW DC + 2 x 7.4 kW AC | 1 | 0 | 2 | <=100 kW | 14.8 |  | FACT | MHI PM E-DRIVE Table 3
B | Balanced: 2 x 60 kW DC + 2 x 7.4 kW AC | 2 | 0 | 2 | <=150 kW | 19 |  | FACT | MHI PM E-DRIVE Table 3
C | Fleet hub: 2 x 120 kW DC + 2 x 7.4 kW AC | 0 | 2 | 2 | >150 kW | 24 |  | FACT | MHI PM E-DRIVE Table 3

## Scenarios
SCENARIO COMPARISON - live links to the six model sheets
Metric | Delhi Cons | Delhi Base | Delhi Aggr | Hyd Cons | Hyd Base | Hyd Aggr
Year-1 utilisation
Year-5 utilisation
Year-1 revenue (Rs)
Year-1 EBITDA (Rs)
Year-5 EBITDA (Rs)
Year-5 EBITDA margin
NPV (Rs)
IRR
Payback (years)
EBITDA break-even utilisation (yr 1)
EBITDA break-even sessions/day (yr 1)
NPV break-even utilisation (from Python bisection; Excel has no goal-seek in a static file)
NPV break-even utilisation (blank = not reachable within capacity) |  | 25.53% | 15.97% |  | 35.83% | 18.18%

## Sensitivity
SENSITIVITY - NPV (Rs lakh), base case, one input changed at a time
Values come from src/run_results.py. To reproduce any row live: set the matching factor on the Inputs sheet (e.g. Demand factor = 0.7) and read NPV on DEL_Base / HYD_Base.
City | Input tested | Base NPV | NPV worse | NPV better | Swing
Delhi | Staff 2 FTE / 0 FTE | -25.39 | -40.43 | -11.7 | 28.73
Delhi | Demand (capture) -30% / +30% | -25.39 | -34.95 | -16.23 | 18.72
Delhi | Grid work: new connection / host's spare capacity | -25.39 | -25.39 | -8.76 | 16.64
Delhi | CAPEX +20% / -20% | -25.39 | -32.13 | -18.66 | 13.46
Delhi | Charging price -10% / +10% | -25.39 | -30.55 | -20.23 | 10.32
Delhi | Electricity cost +20% / -20% | -25.39 | -29.34 | -21.45 | 7.9
Delhi | Host revenue share 20% / 10% | -25.39 | -28.51 | -22.28 | 6.23
Delhi | Discount rate 16% / 12% | -25.39 | -26.09 | -24.5 | 1.6
Hyderabad | Staff 2 FTE / 0 FTE | -34.85 | -49.88 | -19.82 | 30.07
Hyderabad | Grid work: new connection / host's spare capacity | -34.85 | -34.85 | -18.06 | 16.79
Hyderabad | Demand (capture) -30% / +30% | -34.85 | -41.59 | -28.1 | 13.49
Hyderabad | CAPEX +20% / -20% | -34.85 | -41.58 | -28.12 | 13.46
Hyderabad | Charging price -10% / +10% | -34.85 | -39.23 | -30.47 | 8.75
Hyderabad | Electricity cost +20% / -20% | -34.85 | -39.11 | -30.59 | 8.52
Hyderabad | Host revenue share 20% / 10% | -34.85 | -37.49 | -32.21 | 5.28
Hyderabad | Discount rate 16% / 12% | -34.85 | -34.77 | -34.94 | -0.18
WHAT WOULD IT TAKE? Controllable levers stacked on the base case (Rs lakh)
City | Step | CAPEX | NPV | IRR % | Payback yrs
Delhi | Base case | 31.18 | -25.39
Delhi | + host site with spare grid capacity | 14.9 | -8.76 | 1.4 | 9.5
Delhi | + unmanned (remote-monitored) | 14.9 | 2.94 | 18 | 5.1
Delhi | + host share cut to 10% | 14.9 | 5.27 | 20.9 | 4.7
Delhi | Break-even utilisation with all levers (%) |  | 10.38
Hyderabad | Base case | 31.18 | -34.85
Hyderabad | + host site with spare grid capacity | 14.9 | -18.06
Hyderabad | + unmanned (remote-monitored) | 14.9 | -4.17 | 7.8 | 7.4
Hyderabad | + host share cut to 10% | 14.9 | -2.17 | 11 | 6.5
Hyderabad | Break-even utilisation with all levers (%) |  | 14.33

## Checks
MODEL CHECKS - every row must read TRUE
DEL_Cons: sold kWh never exceeds capacity
DEL_Cons: revenue = kWh x price (year 1)
DEL_Cons: EBITDA = gross profit - opex (year 5)
DEL_Cons: cumulative cash = sum of net cash flows
DEL_Cons: Excel NPV matches Python NPV (config A, all factors = 1) within Rs 1,000
DEL_Base: sold kWh never exceeds capacity
DEL_Base: revenue = kWh x price (year 1)
DEL_Base: EBITDA = gross profit - opex (year 5)
DEL_Base: cumulative cash = sum of net cash flows
DEL_Base: Excel NPV matches Python NPV (config A, all factors = 1) within Rs 1,000
DEL_Aggr: sold kWh never exceeds capacity
DEL_Aggr: revenue = kWh x price (year 1)
DEL_Aggr: EBITDA = gross profit - opex (year 5)
DEL_Aggr: cumulative cash = sum of net cash flows
DEL_Aggr: Excel NPV matches Python NPV (config A, all factors = 1) within Rs 1,000
HYD_Cons: sold kWh never exceeds capacity
HYD_Cons: revenue = kWh x price (year 1)
HYD_Cons: EBITDA = gross profit - opex (year 5)
HYD_Cons: cumulative cash = sum of net cash flows
HYD_Cons: Excel NPV matches Python NPV (config A, all factors = 1) within Rs 1,000
HYD_Base: sold kWh never exceeds capacity
HYD_Base: revenue = kWh x price (year 1)
HYD_Base: EBITDA = gross profit - opex (year 5)
HYD_Base: cumulative cash = sum of net cash flows
HYD_Base: Excel NPV matches Python NPV (config A, all factors = 1) within Rs 1,000
HYD_Aggr: sold kWh never exceeds capacity
HYD_Aggr: revenue = kWh x price (year 1)
HYD_Aggr: EBITDA = gross profit - opex (year 5)
HYD_Aggr: cumulative cash = sum of net cash flows
HYD_Aggr: Excel NPV matches Python NPV (config A, all factors = 1) within Rs 1,000
ALL CHECKS PASS

## DEL_Cons
Delhi - conservative scenario - station model (all formulas)
Green = link to Inputs, black = calculation. Change inputs on the Inputs sheet only.
Configuration
60 kW DC chargers
120 kW DC chargers
7.4 kW AC chargers
Total chargers
Total connected kW
CAPEX multiplier (scenario x control)
Chargers (Rs)
Grid connection work (Rs)
Civil & installation (Rs)
Signage, software set-up, permits (Rs)
Contingency (Rs)
TOTAL CAPEX (Rs)
Capacity, kWh/day (at max practical utilisation)
Energy if in use 24h, kWh/day (for utilisation %)
Fair share of public demand, kWh/day
Steady demand year 1, kWh/day
Price net of GST year 1 (Rs/kWh)
Electricity tariff year 1 (Rs/kWh)
Fixed electricity charge (Rs/month)
Host revenue share
Staff FTE
Discount rate (CAPM: Rf + beta x ERP)
Annual depreciation (Rs)
ANNUAL PROJECTION (Rs unless stated)
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Demand kWh/day
kWh sold per day
Sessions per day
Utilisation (% of hours)
kWh sold per year
Revenue
Electricity cost
Gross profit
Host revenue share
Staff
Maintenance
Software / CMS
Payment fees
Insurance
Misc (internet, cleaning, admin)
Opex excl. electricity
EBITDA
EBITDA margin
Depreciation
EBIT
Tax losses brought forward
Tax losses used
Tax
Free cash flow (EBITDA - tax)
CAPEX + working capital
Net cash flow
Cumulative cash flow
Payback helper
OUTPUTS
NPV (Rs) | bar: 0
IRR
Payback (years)
Year-1 utilisation
Year-5 utilisation
Year-1 revenue (Rs)
Year-1 EBITDA (Rs)
Year-5 EBITDA (Rs)
Year-5 EBITDA margin
Contribution per kWh, year 1 (Rs)
Fixed costs, year 1 (Rs)
EBITDA break-even, kWh/day
EBITDA break-even, sessions/day
EBITDA break-even, utilisation

## DEL_Base
Delhi - base scenario - station model (all formulas)
Green = link to Inputs, black = calculation. Change inputs on the Inputs sheet only.
Configuration
60 kW DC chargers
120 kW DC chargers
7.4 kW AC chargers
Total chargers
Total connected kW
CAPEX multiplier (scenario x control)
Chargers (Rs)
Grid connection work (Rs)
Civil & installation (Rs)
Signage, software set-up, permits (Rs)
Contingency (Rs)
TOTAL CAPEX (Rs)
Capacity, kWh/day (at max practical utilisation)
Energy if in use 24h, kWh/day (for utilisation %)
Fair share of public demand, kWh/day
Steady demand year 1, kWh/day
Price net of GST year 1 (Rs/kWh)
Electricity tariff year 1 (Rs/kWh)
Fixed electricity charge (Rs/month)
Host revenue share
Staff FTE
Discount rate (CAPM: Rf + beta x ERP)
Annual depreciation (Rs)
ANNUAL PROJECTION (Rs unless stated)
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Demand kWh/day
kWh sold per day
Sessions per day
Utilisation (% of hours)
kWh sold per year
Revenue
Electricity cost
Gross profit
Host revenue share
Staff
Maintenance
Software / CMS
Payment fees
Insurance
Misc (internet, cleaning, admin)
Opex excl. electricity
EBITDA
EBITDA margin
Depreciation
EBIT
Tax losses brought forward
Tax losses used
Tax
Free cash flow (EBITDA - tax)
CAPEX + working capital
Net cash flow
Cumulative cash flow
Payback helper
OUTPUTS
NPV (Rs) | bar: 0
IRR
Payback (years)
Year-1 utilisation
Year-5 utilisation
Year-1 revenue (Rs)
Year-1 EBITDA (Rs)
Year-5 EBITDA (Rs)
Year-5 EBITDA margin
Contribution per kWh, year 1 (Rs)
Fixed costs, year 1 (Rs)
EBITDA break-even, kWh/day
EBITDA break-even, sessions/day
EBITDA break-even, utilisation

## DEL_Aggr
Delhi - aggressive scenario - station model (all formulas)
Green = link to Inputs, black = calculation. Change inputs on the Inputs sheet only.
Configuration
60 kW DC chargers
120 kW DC chargers
7.4 kW AC chargers
Total chargers
Total connected kW
CAPEX multiplier (scenario x control)
Chargers (Rs)
Grid connection work (Rs)
Civil & installation (Rs)
Signage, software set-up, permits (Rs)
Contingency (Rs)
TOTAL CAPEX (Rs)
Capacity, kWh/day (at max practical utilisation)
Energy if in use 24h, kWh/day (for utilisation %)
Fair share of public demand, kWh/day
Steady demand year 1, kWh/day
Price net of GST year 1 (Rs/kWh)
Electricity tariff year 1 (Rs/kWh)
Fixed electricity charge (Rs/month)
Host revenue share
Staff FTE
Discount rate (CAPM: Rf + beta x ERP)
Annual depreciation (Rs)
ANNUAL PROJECTION (Rs unless stated)
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Demand kWh/day
kWh sold per day
Sessions per day
Utilisation (% of hours)
kWh sold per year
Revenue
Electricity cost
Gross profit
Host revenue share
Staff
Maintenance
Software / CMS
Payment fees
Insurance
Misc (internet, cleaning, admin)
Opex excl. electricity
EBITDA
EBITDA margin
Depreciation
EBIT
Tax losses brought forward
Tax losses used
Tax
Free cash flow (EBITDA - tax)
CAPEX + working capital
Net cash flow
Cumulative cash flow
Payback helper
OUTPUTS
NPV (Rs) | bar: 0
IRR
Payback (years)
Year-1 utilisation
Year-5 utilisation
Year-1 revenue (Rs)
Year-1 EBITDA (Rs)
Year-5 EBITDA (Rs)
Year-5 EBITDA margin
Contribution per kWh, year 1 (Rs)
Fixed costs, year 1 (Rs)
EBITDA break-even, kWh/day
EBITDA break-even, sessions/day
EBITDA break-even, utilisation

## HYD_Cons
Hyderabad - conservative scenario - station model (all formulas)
Green = link to Inputs, black = calculation. Change inputs on the Inputs sheet only.
Configuration
60 kW DC chargers
120 kW DC chargers
7.4 kW AC chargers
Total chargers
Total connected kW
CAPEX multiplier (scenario x control)
Chargers (Rs)
Grid connection work (Rs)
Civil & installation (Rs)
Signage, software set-up, permits (Rs)
Contingency (Rs)
TOTAL CAPEX (Rs)
Capacity, kWh/day (at max practical utilisation)
Energy if in use 24h, kWh/day (for utilisation %)
Fair share of public demand, kWh/day
Steady demand year 1, kWh/day
Price net of GST year 1 (Rs/kWh)
Electricity tariff year 1 (Rs/kWh)
Fixed electricity charge (Rs/month)
Host revenue share
Staff FTE
Discount rate (CAPM: Rf + beta x ERP)
Annual depreciation (Rs)
ANNUAL PROJECTION (Rs unless stated)
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Demand kWh/day
kWh sold per day
Sessions per day
Utilisation (% of hours)
kWh sold per year
Revenue
Electricity cost
Gross profit
Host revenue share
Staff
Maintenance
Software / CMS
Payment fees
Insurance
Misc (internet, cleaning, admin)
Opex excl. electricity
EBITDA
EBITDA margin
Depreciation
EBIT
Tax losses brought forward
Tax losses used
Tax
Free cash flow (EBITDA - tax)
CAPEX + working capital
Net cash flow
Cumulative cash flow
Payback helper
OUTPUTS
NPV (Rs) | bar: 0
IRR
Payback (years)
Year-1 utilisation
Year-5 utilisation
Year-1 revenue (Rs)
Year-1 EBITDA (Rs)
Year-5 EBITDA (Rs)
Year-5 EBITDA margin
Contribution per kWh, year 1 (Rs)
Fixed costs, year 1 (Rs)
EBITDA break-even, kWh/day
EBITDA break-even, sessions/day
EBITDA break-even, utilisation

## HYD_Base
Hyderabad - base scenario - station model (all formulas)
Green = link to Inputs, black = calculation. Change inputs on the Inputs sheet only.
Configuration
60 kW DC chargers
120 kW DC chargers
7.4 kW AC chargers
Total chargers
Total connected kW
CAPEX multiplier (scenario x control)
Chargers (Rs)
Grid connection work (Rs)
Civil & installation (Rs)
Signage, software set-up, permits (Rs)
Contingency (Rs)
TOTAL CAPEX (Rs)
Capacity, kWh/day (at max practical utilisation)
Energy if in use 24h, kWh/day (for utilisation %)
Fair share of public demand, kWh/day
Steady demand year 1, kWh/day
Price net of GST year 1 (Rs/kWh)
Electricity tariff year 1 (Rs/kWh)
Fixed electricity charge (Rs/month)
Host revenue share
Staff FTE
Discount rate (CAPM: Rf + beta x ERP)
Annual depreciation (Rs)
ANNUAL PROJECTION (Rs unless stated)
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Demand kWh/day
kWh sold per day
Sessions per day
Utilisation (% of hours)
kWh sold per year
Revenue
Electricity cost
Gross profit
Host revenue share
Staff
Maintenance
Software / CMS
Payment fees
Insurance
Misc (internet, cleaning, admin)
Opex excl. electricity
EBITDA
EBITDA margin
Depreciation
EBIT
Tax losses brought forward
Tax losses used
Tax
Free cash flow (EBITDA - tax)
CAPEX + working capital
Net cash flow
Cumulative cash flow
Payback helper
OUTPUTS
NPV (Rs) | bar: 0
IRR
Payback (years)
Year-1 utilisation
Year-5 utilisation
Year-1 revenue (Rs)
Year-1 EBITDA (Rs)
Year-5 EBITDA (Rs)
Year-5 EBITDA margin
Contribution per kWh, year 1 (Rs)
Fixed costs, year 1 (Rs)
EBITDA break-even, kWh/day
EBITDA break-even, sessions/day
EBITDA break-even, utilisation

## HYD_Aggr
Hyderabad - aggressive scenario - station model (all formulas)
Green = link to Inputs, black = calculation. Change inputs on the Inputs sheet only.
Configuration
60 kW DC chargers
120 kW DC chargers
7.4 kW AC chargers
Total chargers
Total connected kW
CAPEX multiplier (scenario x control)
Chargers (Rs)
Grid connection work (Rs)
Civil & installation (Rs)
Signage, software set-up, permits (Rs)
Contingency (Rs)
TOTAL CAPEX (Rs)
Capacity, kWh/day (at max practical utilisation)
Energy if in use 24h, kWh/day (for utilisation %)
Fair share of public demand, kWh/day
Steady demand year 1, kWh/day
Price net of GST year 1 (Rs/kWh)
Electricity tariff year 1 (Rs/kWh)
Fixed electricity charge (Rs/month)
Host revenue share
Staff FTE
Discount rate (CAPM: Rf + beta x ERP)
Annual depreciation (Rs)
ANNUAL PROJECTION (Rs unless stated)
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Demand kWh/day
kWh sold per day
Sessions per day
Utilisation (% of hours)
kWh sold per year
Revenue
Electricity cost
Gross profit
Host revenue share
Staff
Maintenance
Software / CMS
Payment fees
Insurance
Misc (internet, cleaning, admin)
Opex excl. electricity
EBITDA
EBITDA margin
Depreciation
EBIT
Tax losses brought forward
Tax losses used
Tax
Free cash flow (EBITDA - tax)
CAPEX + working capital
Net cash flow
Cumulative cash flow
Payback helper
OUTPUTS
NPV (Rs) | bar: 0
IRR
Payback (years)
Year-1 utilisation
Year-5 utilisation
Year-1 revenue (Rs)
Year-1 EBITDA (Rs)
Year-5 EBITDA (Rs)
Year-5 EBITDA margin
Contribution per kWh, year 1 (Rs)
Fixed costs, year 1 (Rs)
EBITDA break-even, kWh/day
EBITDA break-even, sessions/day
EBITDA break-even, utilisation